
[image: image1.png]N

Mammoth Lakes-

CALIFORNIA



   COMMUNITY AND ECONOMIC DEVELOPMENT DEPARTMENT

Planning Division 
      P.O. Box 1609, Mammoth Lakes, CA 93546

   Phone: (760) 965-3630          Fax: (760) 934-7493
www.townofmammothlakes.ca.gov
_____________________________________________________________________________
Landscape Document Package Outline and Checklist

Name:________________________________________  Date: _________________________________________

Location: _____________________________________ Company/Project: ________________________________ 

Owner: ____________________________________   Applicant: ________________________________________
Water Conservation Concept Statement 


Brief description of the project and how its design will conserve water: 




Package Checklist

     The package shall contain the following completed items:

· Calculation of MAWA-Maximum Applied Water Allowance. Use attached calculation sheet.
· Calculation of EWU- Estimated total Water Use. Use attached calculation sheet
· Estimated Applied Water Use- Sum of water recommended in the Irrigation Schedule
· Landscape Design Plan

· Irrigation Design Plan

· Irrigation Schedule- Use Attached Sheet

· Maintenance Schedule- Use Attached Sheet

· Landscape Irrigation Audit Schedule – Use attached sheet
· Grading Design Plan

· Soil Analysis

Certificate of Substantial Completion shall be submitted after project installation.  Landscape installation shall be verified and approved by a Landscape Professional.                                             

Calculation Sheet (Copy for additional zones if needed)

Total Landscaped Area 

                                                                                                                                                           L.A.  ( sq. ft.)

Hydro Zone Breakdown  


1) High water using plants   (0.7-1.0)   Area 

=                                                                                     

                                                                      (P.F.)






(sq. ft.)




2) Average water using plants   (0.4- 0.6)   Area 

               =                                                                                    

                                                                      (P.F.)





              (sq. ft.)




3) Low water using plants   (0.0- 0.3)   Area 

=                                                                                          

                                                                      (P.F.)






(sq. ft.)

Maximum Applied Water Allowance (M.A.W.A.)


M.A.W.A.  =  33.0  x  0.8  x                                       x  0.62         
=                                                                                  
                          (E.T.)   (A.F.)      (L.A.)       (C.F.)

Estimated Water Use (E.W.U.) 








Gallons

E.W.U. (1)= 33.0 x                 x   x                               x 0.62  

                    (E.T.)      (P.F.)         (H.A.)    (C.F.)                
=    

                           









Gallons

                                          (I.E.)


E.W.U. (2)= 33.0 x                 x    x                              x 0.62  

                    (E.T.)      (P.F.)         (H.A.)    (C.F.)             

=    

                           









Gallons

                                          (I.E.)

                       
E.W.U. (3)= 33.0 x                      x                                 x 0.62  

                    (E.T.)      (P.F.)          (H.A.)    (C.F.)              

 =    

                           









Gallons

                                          (I.E.)

Total Estimated Water Use

                     +                          +                           =                                        <

 E.W.U. (1)              E.W.U. (2)                E.W.U. (3)                     Total Gallons         
          MAWA 
Gallons


P.F. = Plant Factor - Must be between 0.1- 1.0.

E.T. = Evapotranspiration Rate – Mammoth Lakes 6 month growing season

C.F. = Conversion Factor – Constant number

A.F. = Adjustment Factor – Constant number

H.A. = Hydro zone Area - Area of each Hydro zone.

I.E.  = Irrigation Efficiency   * Must be greater than .625.

L.A. = Landscape Area - Total Landscaped area of project. 

Irrigation Schedule
· Plant Establishment Period Irrigation Schedule
May:                                                             August: ____________________________                                                     

June:                                                           September: __________________________                                                                             

July:                                                             October: ____________________________                                                    

· Established Landscape Irrigation Schedule:

	Hydrozone
	Run Time (minutes/cycle)
	Suggested

(cycles/day)
	Frequency    per Station (days/week)
	Recommended

monthly

(gallons)

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	


Estimated Applied Water Use per Year ________________________ (Gallons)
Maintenance Schedule
	Maintenance Items


	Maintenance Frequency

	Irrigation Equipment
	

	Resetting Automatic Controller
	

	Aerating Turf
	

	Replenishing Mulch
	

	Fertilizing
	

	Pruning and Weeding


	


	Irrigation Audit Schedule

	Day/Month/Year:


	By:

	Day/Month/Year:


	By:

	Day/Month/Year:


	By:


507

1/17
Page 1 of 4

