[image: image1.png]N

Mammoth Lakes-

CALIFORNIA



COMMUNITY AND ECONOMIC DEVELOPMENT DEPARTMENT

BUILDING DIVISION

P.O. Box 1609, Mammoth Lakes, CA 93546

Phone: (760) 965-3630 Fax: (760) 934-7493

www.townofmammothlakes.ca.gov
_____________________________________________________________________________

ENERGY EFFICIENT LIGHTING

CALIFORNIA ENERGY COMMISSION

RESIDENTIAL ENERGY STANDARDS
Effective Date: 10-1-2005

All new luminaries that are permanently installed must be high efficacy.

High Efficacy means:

a. Less  than  15   watts  - 40 lumens/watt

b. Between 15-40 watts  - 50 lumens/watt

c. Greater than 40 watts  - 60 lumens/watt

Lighting fixtures that contain a conventional (medium) screw – based socket are 

not permitted.

· Kitchens.  At least half the installed wattage of luminaries in kitchens shall be high efficacy and the ones that are not must be switched separately.

· Lighting in Bathrooms, Garages, Laundry Rooms, and Utility Rooms.  All luminaries shall either be high efficacy or shall be controlled by an occupant sensor.

· Other Rooms.  All luminaries shall either be high efficacy or shall be controlled by an occupant sensor or dimmer.  Closet that are less than 70 square foot are exempt from this requirements.

· Outdoor Lighting.  All luminaries mounted to the building or to other buildings on the same lot shall be high efficacy luminaries or shall be controlled by a photo-control/motion sensor combination. 

Common Areas of Multi-family Buildings.  All luminaries in the common areas of multi-family buildings shall either be high efficacy or shall be controlled by an occupant sensor.   
303 

11/2012

